## Physical Security Audit
ID | Location | Control Item | Standard | Compliant (Y/N/N/A) | Finding | Action Required | Date Audited
1 | Perimeter | External perimeter boundary is clearly defined and secure | IS-20 / 7.1
2 | Perimeter | All external doors are fitted with appropriate locking mechanisms | IS-20 / 7.1
3 | Perimeter | CCTV cameras are operational and recording at all entry points | IS-20 / 7.4
4 | Reception | Visitor sign-in process is in place and enforced | IS-20 / 7.2
5 | Reception | Visitor badges are visually distinct from employee badges | IS-20 / 7.2
6 | Reception | Visitors are accompanied at all times in secure areas | IS-20 / 7.2
7 | Reception | Visitor log is maintained and complete | IS-20 / 7.2
8 | Office Areas | Employees wear identity badges visibly | IS-20 / 7.2
9 | Office Areas | Desks are clear of sensitive documents when unattended | IS-08 / 7.7
10 | Office Areas | Screens are locked when workstations are unattended | IS-08 / 7.7
11 | Office Areas | Sensitive documents are stored in locked cabinets | IS-08 / 7.7
12 | Office Areas | Whiteboards with sensitive information are erased after use | IS-08 / 7.7
13 | Server Room | Server room access is controlled by electronic access system | IS-20 / 7.3
14 | Server Room | Server room access log is maintained | IS-20 / 7.3
15 | Server Room | Server room is equipped with fire detection and suppression | IS-20 / 7.5
16 | Server Room | Temperature and humidity are monitored and within range | IS-20 / 7.8
17 | Server Room | UPS is operational and tested within the last 12 months | IS-20 / 7.8
18 | Server Room | No unauthorised equipment is present in the server room | IS-20 / 7.3
19 | Waste / Disposal | Secure document shredders are available and in use | IS-20 / 7.10
20 | Waste / Disposal | Confidential waste bins are available and used correctly | IS-20 / 7.10
21 | Overall | Security guard rounds are conducted at defined intervals | IS-20 / 7.4
22 | Overall | Emergency exits are clear and functional | General / Safety