## Env Monitoring Log
Timestamp | Location | Sensor ID | Reading Type | Value | Unit | Threshold | Status | Action Taken | Operator
2026-04-26 08:00 | Data Centre A | TEMP-01 | Temperature | 21.5 | C | 18-24 | OK | Routine read | Auto
2026-04-26 08:00 | Data Centre A | HUM-01 | Humidity | 47 | % | 40-60 | OK | Routine read | Auto
2026-04-26 08:15 | Comms Room B | TEMP-04 | Temperature | 25.8 | C | 18-24 | Warning | Investigated, AC unit reset | M. Lopez
2026-04-26 08:30 | Data Centre A | PWR-01 | Power Load | 73 | % | <85 | OK | Routine read | Auto