[Company]

PHYSICAL SECURITY POLICY

Classification: Internal   |   Version: [Version]

Last Reviewed: [Date]   |   Document Owner: [Owner]

1  Document Version Control

| Version | Last Modified | Modified By | Document Changes |
| --- | --- | --- | --- |
| 0.1 | [Date] |  | Document first created |

2  Document Contents Page

1   Document Version Control	2

2   Document Contents Page	3

3   Physical Security Policy	5

3.1   Purpose	5

3.2   Scope	5

3.3   Definitions	5

3.4   Policy Requirements	6

3.5   Roles and Responsibilities	9

3.6   Related Documents	10

4   Policy Compliance	11

5   ISO 27001:2022 Controls Addressed	12

3  Physical Security Policy

3.1  Purpose

This policy defines the controls required to protect the organisation's facilities, equipment, and information assets from physical threats including unauthorised access, theft, environmental damage, and sabotage. Effective physical security is a fundamental component of the information security management system and complements technical and organisational controls.

3.2  Scope

This policy applies to all organisational facilities, data centres, server rooms, offices, and any other premises where information assets are processed or stored. It applies to all employees, contractors, visitors, and service personnel who access organisational premises.

3.3  Definitions

Physical Security Perimeter: A physical boundary such as a wall, fence, or controlled access point that defines the extent of a secure area

Secure Area: A physically protected zone, access to which is controlled and restricted to authorised individuals only

Tailgating: The act of following an authorised person through a controlled access point without independent authentication

Environmental Threat: A physical hazard such as fire, flood, extreme temperature, power failure, or natural disaster that could damage information assets

Visitor: Any individual who is not a permanent employee or approved contractor accessing organisational premises

3.4  Policy Requirements

Physical Security Perimeters

Physical security perimeters must be defined for all areas containing sensitive information or critical infrastructure

Entry to secure areas must be controlled by appropriate mechanisms including key card, PIN, biometric access, or security personnel

Security perimeters must be physically sound with no exploitable gaps

External walls, doors, windows, and roofs of secure areas must be of solid construction and resistant to unauthorised entry

Access Control to Secure Areas

Access to secure areas must be restricted to authorised personnel whose role requires access

Access rights must be reviewed at least every six months and removed promptly when no longer required

All access to secure areas must be logged and available for audit

Visitors to secure areas must be accompanied by an authorised member of staff at all times

Tailgating is strictly prohibited; all personnel must challenge unaccompanied visitors

Visitor access logs must be maintained at all secure area entry points

Equipment Security

Equipment containing sensitive data must be sited to reduce the risk of eavesdropping or observation by unauthorised persons

Equipment must be protected from power failures and other utility disruptions using appropriate infrastructure

Equipment must not be removed from premises without prior authorisation

All equipment removed from premises must be recorded and tracked

Screens must be positioned to prevent unauthorised viewing in public areas

Environmental Controls

Temperature and humidity within server rooms and equipment areas must be monitored and maintained within manufacturer specifications

Fire detection and suppression systems must be installed and regularly tested in all server rooms and data centres

Uninterruptible power supply systems must be maintained for critical equipment

Protection from water damage, flooding, and other environmental hazards must be assessed and appropriate controls implemented

3.5  Roles and Responsibilities

Facilities Manager: Responsible for physical access controls, building security, and environmental infrastructure

IT Department: Responsible for securing equipment, server rooms, and data centres

All Employees: Responsible for following physical security procedures, challenging unaccompanied visitors, and reporting security concerns

Security Personnel: Responsible for monitoring access points, responding to security incidents, and maintaining visitor logs

Information Security Manager: Responsible for physical security risk assessment and policy compliance oversight

3.6  Related Documents

IS-01 Information Security Policy

IS-20 Physical and Environmental Security Policy

IS-08 Clear Desk and Clear Screen Policy

Visitor Management Procedure

4  Policy Compliance

4.1  Compliance Measurement

The information security management team will verify compliance with this policy through various methods including but not limited to periodic internal audits, management reviews, automated compliance reporting tools, and documented evidence reviews. Compliance checks will be conducted at least annually or following any significant change to the environment.

4.2  Exceptions

Any exception to this policy must be submitted in writing to the Information Security Manager, who will assess the risk associated with the exception. Approved exceptions must be documented with a risk acceptance statement signed by the appropriate level of management and reported to the Management Review Team. Exceptions are time-limited and subject to review.

4.3  Non-Compliance

Any employee, contractor, or third-party user found to have violated this policy may be subject to disciplinary action up to and including termination of employment or contract. Violations may also result in civil or criminal prosecution where applicable law permits. Suspected violations should be reported to the Information Security Manager or via the designated reporting channel.

4.4  Continual Improvement

This policy is subject to continual improvement as part of the information security management system. The policy will be reviewed at least annually or following any significant information security incident, regulatory change, or material change to the organisation's operating environment. All revisions are subject to management approval and communicated to relevant stakeholders.

5  ISO 27001:2022 Controls Addressed

This document supports compliance with the following ISO/IEC 27001:2022 Annex A controls:

7.1 - Physical security perimeters

7.2 - Physical entry

7.3 - Securing offices, rooms and facilities

7.4 - Physical security monitoring

7.8 - Placement and protection of equipment