[Company]

ENVIRONMENTAL MONITORING PROCEDURE

Classification: Internal   |   Version: [Version]

Last Reviewed: [Date]   |   Document Owner: [Owner]

1  Document Version Control

| Version | Last Modified | Modified By | Document Changes |
| --- | --- | --- | --- |
| 0.1 | [Date] |  | Document first created |

2  Document Contents Page

1   Document Version Control	2

2   Document Contents Page	3

3   Environmental Monitoring Procedure	5

3.1   Purpose	5

3.2   Scope	5

3.3   Pre-requisites	5

3.4   Procedure	6

3.5   Records and Evidence	9

3.6   Related Documents	10

4   Policy Compliance	11

5   ISO 27001:2022 Controls Addressed	12

3  Environmental Monitoring Procedure

3.1  Purpose

This procedure defines processes for monitoring temperature, humidity, power, and other environmental factors in facilities housing critical equipment. It supports the availability and integrity of information processing facilities.

3.2  Scope

This procedure applies to data centres, communications rooms, server rooms, and any other facility containing equipment whose operation depends on controlled environmental conditions.

3.3  Pre-requisites

Environmental monitoring equipment installed and calibrated

Defined operating parameters for each monitored facility

Alerting integrated with operations or facilities support

3.4  Procedure

3.4.1  Define Operating Parameters

Document the acceptable ranges for temperature, humidity, water detection, smoke detection, and power

Align parameters with equipment manufacturer recommendations

3.4.2  Continuous Monitoring

Monitor environmental parameters continuously through the monitoring platform

Configure alerts for breaches of warning and critical thresholds

Forward alerts to the appropriate operational team

3.4.3  Periodic Inspection

Conduct physical inspections monthly to verify monitoring equipment is functioning

Calibrate sensors annually or as recommended by the vendor

3.4.4  Respond to Alerts

Investigate alerts immediately on receipt

Take corrective action to restore conditions to within range

Escalate persistent or critical alerts to facilities management and the system owners

3.4.5  Record and Report

Record alerts and responses in the Environmental Monitoring Log

Report environmental incidents through the Incident Management Procedure where they affect service

Review monthly trends and adjust controls as needed

3.5  Records and Evidence

Environmental Monitoring Log

Inspection and calibration records

Incident records for environmental events

3.6  Related Documents

Physical Security Policy

Business Continuity Plan

Power and Utilities Management Procedure

4  Policy Compliance

4.1  Compliance Measurement

The information security management team will verify compliance with this policy through various methods including but not limited to periodic internal audits, management reviews, automated compliance reporting tools, and documented evidence reviews. Compliance checks will be conducted at least annually or following any significant change to the environment.

4.2  Exceptions

Any exception to this policy must be submitted in writing to the Information Security Manager, who will assess the risk associated with the exception. Approved exceptions must be documented with a risk acceptance statement signed by the appropriate level of management and reported to the Management Review Team. Exceptions are time-limited and subject to review.

4.3  Non-Compliance

Any employee, contractor, or third-party user found to have violated this policy may be subject to disciplinary action up to and including termination of employment or contract. Violations may also result in civil or criminal prosecution where applicable law permits. Suspected violations should be reported to the Information Security Manager or via the designated reporting channel.

4.4  Continual Improvement

This policy is subject to continual improvement as part of the information security management system. The policy will be reviewed at least annually or following any significant information security incident, regulatory change, or material change to the organisation's operating environment. All revisions are subject to management approval and communicated to relevant stakeholders.

5  ISO 27001:2022 Controls Addressed

This document supports compliance with the following ISO/IEC 27001:2022 Annex A controls:

7.4 - Physical security monitoring

7.5 - Protecting against physical and environmental threats

7.14 - Secure disposal or re-use of equipment