[Company]

POWER AND UTILITIES MANAGEMENT PROCEDURE

Classification: Internal   |   Version: [Version]

Last Reviewed: [Date]   |   Document Owner: [Owner]

1  Document Version Control

| Version | Last Modified | Modified By | Document Changes |
| --- | --- | --- | --- |
| 0.1 | [Date] |  | Document first created |

2  Document Contents Page

1   Document Version Control	2

2   Document Contents Page	3

3   Power and Utilities Management Procedure	5

3.1   Purpose	5

3.2   Scope	5

3.3   Pre-requisites	5

3.4   Procedure	6

3.5   Records and Evidence	9

3.6   Related Documents	10

4   Policy Compliance	11

5   ISO 27001:2022 Controls Addressed	12

3  Power and Utilities Management Procedure

3.1  Purpose

This procedure defines the management processes for power supplies, uninterruptible power supplies (UPS), and other utility infrastructure that supports information processing facilities. It ensures the continuity of services dependent on these utilities.

3.2  Scope

This procedure applies to all data centres, communications rooms, and other facilities where the loss of power or utilities could materially affect organisational operations.

3.3  Pre-requisites

Documented utility infrastructure including supply, UPS, generators, cooling, and water

Maintenance contracts for utility equipment

Defined operating parameters and alerting

3.4  Procedure

3.4.1  Inventory and Document

Maintain an up-to-date inventory of utility equipment

Document supply paths, redundancy, and capacity

3.4.2  Operate and Monitor

Monitor power and utility status continuously through the building management or environmental monitoring system

Alert operations on anomalies or capacity thresholds

3.4.3  Preventive Maintenance

Conduct preventive maintenance per manufacturer schedules

Test UPS and generator capability through scheduled load tests

Replace consumables such as batteries within their service life

3.4.4  Capacity Management

Track utility consumption and capacity headroom

Plan capacity upgrades in line with growth forecasts

3.4.5  Incident Response

Respond to utility incidents in line with the incident management process

Engage utility providers and maintenance vendors as required

Conduct post-incident reviews and capture lessons learned

3.5  Records and Evidence

Utility inventory and architecture

Maintenance and test records

Capacity reports

Incident records

3.6  Related Documents

Business Continuity Plan

Environmental Monitoring Procedure

Disaster Recovery Plan

4  Policy Compliance

4.1  Compliance Measurement

The information security management team will verify compliance with this policy through various methods including but not limited to periodic internal audits, management reviews, automated compliance reporting tools, and documented evidence reviews. Compliance checks will be conducted at least annually or following any significant change to the environment.

4.2  Exceptions

Any exception to this policy must be submitted in writing to the Information Security Manager, who will assess the risk associated with the exception. Approved exceptions must be documented with a risk acceptance statement signed by the appropriate level of management and reported to the Management Review Team. Exceptions are time-limited and subject to review.

4.3  Non-Compliance

Any employee, contractor, or third-party user found to have violated this policy may be subject to disciplinary action up to and including termination of employment or contract. Violations may also result in civil or criminal prosecution where applicable law permits. Suspected violations should be reported to the Information Security Manager or via the designated reporting channel.

4.4  Continual Improvement

This policy is subject to continual improvement as part of the information security management system. The policy will be reviewed at least annually or following any significant information security incident, regulatory change, or material change to the organisation's operating environment. All revisions are subject to management approval and communicated to relevant stakeholders.

5  ISO 27001:2022 Controls Addressed

This document supports compliance with the following ISO/IEC 27001:2022 Annex A controls:

7.14 - Secure disposal or re-use of equipment

7.5 - Protecting against physical and environmental threats

8.14 - Redundancy of information processing facilities