[Company]

EQUIPMENT PLACEMENT STANDARDS

Classification: Internal   |   Version: [Version]

Last Reviewed: [Date]   |   Document Owner: [Owner]

1  Document Version Control

| Version | Last Modified | Modified By | Document Changes |
| --- | --- | --- | --- |
| 0.1 | [Date] |  | Document first created |

2  Document Contents Page

1   Document Version Control	2

2   Document Contents Page	3

3   Equipment Placement Standards	5

3.1   Purpose	5

3.2   Scope	5

3.3   Definitions	5

3.4   Policy Requirements	6

3.5   Roles and Responsibilities	9

3.6   Related Documents	10

4   Policy Compliance	11

5   ISO 27001:2022 Controls Addressed	12

3  Equipment Placement Standards

3.1  Purpose

This standard specifies requirements for the siting and protection of information processing equipment to reduce the risk of physical and environmental threats and unauthorised access.

3.2  Scope

This standard applies to all information processing equipment including servers, network equipment, storage, end-user devices, and supporting infrastructure.

3.3  Definitions

Equipment Room: A dedicated room hosting information processing equipment with controlled environmental conditions

Rack: A standardised mounting frame for stacked equipment

Environmental Threat: Conditions such as fire, water, dust, vibration, or temperature that could damage equipment

3.4  Policy Requirements

Siting

Critical equipment must be located in dedicated equipment rooms with controlled access

Equipment must be sited away from external windows, water sources, and other physical risk factors

Power and data cabling must be installed in protective conduits or trays

Environmental Controls

Equipment rooms must maintain temperature and humidity within manufacturer specifications

Fire suppression appropriate to the equipment must be installed

Water detection sensors must be installed in flood-risk locations

Power and Cabling

Equipment must be connected to managed power circuits with appropriate protection

Critical equipment must be supported by UPS and where required by generator backup

Power and data cabling must be physically separated to reduce interference

Physical Protection

Equipment must be mounted securely in racks or cabinets to reduce risk of damage

Cabinets containing critical equipment must be lockable and access controlled

Anti-theft measures such as cable locks and cages must be used for equipment in shared spaces

End-User Equipment

End-user devices must not be left unattended in public spaces

Cable locks must be available for use in open-plan offices

Mobile devices must follow the Mobile Device Security Policy

3.5  Roles and Responsibilities

Facilities Manager: Designs and maintains the equipment hosting environment

IT Infrastructure: Installs and maintains equipment

Information Security Manager: Reviews placement against this standard

3.6  Related Documents

Physical Security Policy

Power and Utilities Management Procedure

Environmental Monitoring Procedure

4  Policy Compliance

4.1  Compliance Measurement

The information security management team will verify compliance with this policy through various methods including but not limited to periodic internal audits, management reviews, automated compliance reporting tools, and documented evidence reviews. Compliance checks will be conducted at least annually or following any significant change to the environment.

4.2  Exceptions

Any exception to this policy must be submitted in writing to the Information Security Manager, who will assess the risk associated with the exception. Approved exceptions must be documented with a risk acceptance statement signed by the appropriate level of management and reported to the Management Review Team. Exceptions are time-limited and subject to review.

4.3  Non-Compliance

Any employee, contractor, or third-party user found to have violated this policy may be subject to disciplinary action up to and including termination of employment or contract. Violations may also result in civil or criminal prosecution where applicable law permits. Suspected violations should be reported to the Information Security Manager or via the designated reporting channel.

4.4  Continual Improvement

This policy is subject to continual improvement as part of the information security management system. The policy will be reviewed at least annually or following any significant information security incident, regulatory change, or material change to the organisation's operating environment. All revisions are subject to management approval and communicated to relevant stakeholders.

5  ISO 27001:2022 Controls Addressed

This document supports compliance with the following ISO/IEC 27001:2022 Annex A controls:

7.8 - Equipment siting and protection

7.5 - Protecting against physical and environmental threats

7.11 - Supporting utilities