[Company]

PHYSICAL SECURITY STANDARDS

Classification: Internal   |   Version: [Version]

Last Reviewed: [Date]   |   Document Owner: [Owner]

1  Document Version Control

| Version | Last Modified | Modified By | Document Changes |
| --- | --- | --- | --- |
| 0.1 | [Date] |  | Document first created |

2  Document Contents Page

1   Document Version Control	2

2   Document Contents Page	3

3   Physical Security Standards	5

3.1   Purpose	5

3.2   Scope	5

3.3   Definitions	5

3.4   Policy Requirements	6

3.5   Roles and Responsibilities	9

3.6   Related Documents	10

4   Policy Compliance	11

5   ISO 27001:2022 Controls Addressed	12

3  Physical Security Standards

3.1  Purpose

This standard defines the technical and operational requirements for physical security controls protecting organisational facilities. It ensures consistent application of locks, barriers, surveillance, and intrusion detection across the property portfolio.

3.2  Scope

This standard applies to all owned and leased facilities including offices, data centres, communications rooms, warehouses, and storage facilities.

3.3  Definitions

Perimeter: The outer boundary of a secured area, typically the building exterior

Access Point: A controlled location where entry to or exit from a secured area is permitted

Intrusion Detection System (IDS): A system that detects unauthorised entry attempts and triggers an alarm

CCTV: Closed-circuit television used for surveillance of physical areas

3.4  Policy Requirements

Perimeter Protection

Building exteriors must be designed to resist unauthorised entry, including reinforced doors and windows in higher security zones

External lighting must illuminate access points and surroundings during hours of darkness

Approaches to the perimeter must be free of cover that could conceal unauthorised access

Access Points

Access points must be minimised to those needed for operational and emergency use

Each access point must be controlled by an electronic access control system or staffed reception

Access events must be logged with timestamp and individual identifier

Anti-tailgating measures such as turnstiles or mantraps must be used for high-security areas

Locks and Keys

All external doors must use locks rated to industry standards appropriate to the asset value

Keys must be issued under a key control register and accounted for at all times

Locks must be re-keyed following loss of a key or compromise of the keying system

Intrusion Detection

Intrusion detection systems must be installed at higher security facilities

Sensors must cover external doors, windows, and movement within secured areas

Alarms must be monitored 24/7 by an approved monitoring service or internal SOC

CCTV

CCTV must be installed at access points and within high-value areas

Recordings must be retained for the period defined in the Data Retention Schedule and protected from tampering

Privacy considerations must be respected and CCTV signage must be displayed where required by law

Visitor Controls

Visitors must be received at a controlled reception, identified, and escorted

Visitor logs must be maintained and reviewed periodically

3.5  Roles and Responsibilities

Facilities Manager: Owns the physical security implementation and operations

Information Security Manager: Defines security requirements and audits compliance

Local Site Manager: Operates physical security at the site level

3.6  Related Documents

Physical Security Policy

Secure Work Area Policy

Visitor Log Template

4  Policy Compliance

4.1  Compliance Measurement

The information security management team will verify compliance with this policy through various methods including but not limited to periodic internal audits, management reviews, automated compliance reporting tools, and documented evidence reviews. Compliance checks will be conducted at least annually or following any significant change to the environment.

4.2  Exceptions

Any exception to this policy must be submitted in writing to the Information Security Manager, who will assess the risk associated with the exception. Approved exceptions must be documented with a risk acceptance statement signed by the appropriate level of management and reported to the Management Review Team. Exceptions are time-limited and subject to review.

4.3  Non-Compliance

Any employee, contractor, or third-party user found to have violated this policy may be subject to disciplinary action up to and including termination of employment or contract. Violations may also result in civil or criminal prosecution where applicable law permits. Suspected violations should be reported to the Information Security Manager or via the designated reporting channel.

4.4  Continual Improvement

This policy is subject to continual improvement as part of the information security management system. The policy will be reviewed at least annually or following any significant information security incident, regulatory change, or material change to the organisation's operating environment. All revisions are subject to management approval and communicated to relevant stakeholders.

5  ISO 27001:2022 Controls Addressed

This document supports compliance with the following ISO/IEC 27001:2022 Annex A controls:

7.1 - Physical security perimeters

7.3 - Securing offices, rooms and facilities

7.4 - Physical security monitoring