[Company]

TIME SYNCHRONIZATION STANDARDS

Classification: Internal   |   Version: [Version]

Last Reviewed: [Date]   |   Document Owner: [Owner]

1  Document Version Control

| Version | Last Modified | Modified By | Document Changes |
| --- | --- | --- | --- |
| 0.1 | [Date] |  | Document first created |

2  Document Contents Page

1   Document Version Control	2

2   Document Contents Page	3

3   Time Synchronization Standards	5

3.1   Purpose	5

3.2   Scope	5

3.3   Definitions	5

3.4   Policy Requirements	6

3.5   Roles and Responsibilities	9

3.6   Related Documents	10

4   Policy Compliance	11

5   ISO 27001:2022 Controls Addressed	12

3  Time Synchronization Standards

3.1  Purpose

This standard defines the technical requirements for accurate time synchronisation across information systems. Accurate time is essential for log correlation, security investigations, and the correctness of time-sensitive controls.

3.2  Scope

This standard applies to all systems generating or consuming time-stamped data, including servers, workstations, network devices, security appliances, and applications.

3.3  Definitions

NTP: Network Time Protocol, the standard protocol for distributing time across networks

Stratum: A measure of the distance between a system and the reference clock in NTP

Time Drift: The accumulated difference between system time and reference time

3.4  Policy Requirements

Time Sources

The organisation must operate or consume reference time sources of stratum 1 or 2 quality

Public NTP services may be used as additional sources where approved

Time sources must be documented in the network architecture

Synchronisation Configuration

All systems must synchronise to approved time sources

Multiple time sources must be configured for redundancy

Time daemons must be configured to use authentication where supported

Tolerances

System time must be within 100 milliseconds of the reference time for general systems

Security-critical and audit-grade systems must be within 10 milliseconds

Time drift must be monitored and alerted on threshold breach

Time Zones and Formats

Logs must use UTC for storage and analysis

User interfaces may display local time but must indicate the time zone

Timestamps must include sufficient precision for correlation, typically millisecond or better

Monitoring

Time service health must be monitored

Anomalies including sudden time changes must be investigated

3.5  Roles and Responsibilities

Network Operations: Operates time servers and distribution

System Owners: Configure systems to synchronise per this standard

Information Security Manager: Reviews compliance and incidents

3.6  Related Documents

Network Services Security Standards

System Monitoring Procedure

Audit Trail Configuration Standards

4  Policy Compliance

4.1  Compliance Measurement

The information security management team will verify compliance with this policy through various methods including but not limited to periodic internal audits, management reviews, automated compliance reporting tools, and documented evidence reviews. Compliance checks will be conducted at least annually or following any significant change to the environment.

4.2  Exceptions

Any exception to this policy must be submitted in writing to the Information Security Manager, who will assess the risk associated with the exception. Approved exceptions must be documented with a risk acceptance statement signed by the appropriate level of management and reported to the Management Review Team. Exceptions are time-limited and subject to review.

4.3  Non-Compliance

Any employee, contractor, or third-party user found to have violated this policy may be subject to disciplinary action up to and including termination of employment or contract. Violations may also result in civil or criminal prosecution where applicable law permits. Suspected violations should be reported to the Information Security Manager or via the designated reporting channel.

4.4  Continual Improvement

This policy is subject to continual improvement as part of the information security management system. The policy will be reviewed at least annually or following any significant information security incident, regulatory change, or material change to the organisation's operating environment. All revisions are subject to management approval and communicated to relevant stakeholders.

5  ISO 27001:2022 Controls Addressed

This document supports compliance with the following ISO/IEC 27001:2022 Annex A controls:

8.17 - Clock synchronization

8.15 - Logging

8.16 - Monitoring activities